## Instructions
qPCR Data Analysis nrStar™ Human tRNA repertoire PCR Array
Arraystar Inc., 9430 Key West Ave #128, Rockville, MD 20850, USA Tel: 888-416-6343 • Fax: 240-238-9860 • Email: support@arraystar.com • www.arraystar.com
1. Export the raw Ct values using the software supplied with the real-time PCR instrument.
2. Paste your test sample Ct values to the sheet "Test Sample Data" in the same well positions.
3. Paste your control sample Ct values to the sheet "Control Sample Data" in the same well positions.
4. The software will perform all the calculations and mapping automatically.
5. Check the results in Excel sheets "All expressed genes", "Scatter Plot", "Volcano Plot", etc.
Notes
1. The software may not work if the sample numbers participating in the comparison are less than 4.
2. The automatic procedures include:
Step | Excel sheet
Set all Ct values ≥ 35 or N/A (not detected) to 35 | Data pre-processing
Calculate inter-plate calibration factors | Choose Housekeeping Genes
Select three most stably expressed housekeeping reference genes and calculate average Ct(HKs) | Choose Housekeeping Genes
Inter-plate calibration | Data pre-processing
Calculate DCt for each RNA: DCt(RNA)=Ct(RNA)- average Ct(HKs) | Data pre-processing
Calculate fold-change for each RNA: Fold-change = 2^[average ∆Ct(Control) - average ∆Ct(Test)] | All expressed genes
Calculate P-value | All expressed genes
Scatter Plot | Scatter Plot
Volcano Plot graphing | Volcano Plot
Bar graphing of top 20 up regulated tRNA | up_Bar Graph
Bar graphing of top 20 down regulated tRNA | down_Bar Graph

## Transcript table
Transcript Table
Order in 96 (for sorting by row) | Position | Transcript name | Type | tRNA ID in GtRNAdb or tRNAdb
1 | A01 | Ala-AGC | tRNA of interest | tdbD00003837/tdbD00003838/tdbD00003840/tdbD00003842
2 | A02 | Ala-CGC | tRNA of interest | tdbD00003856/tdbD00003855
3 | A03 | Ala-GGC | tRNA of interest | tRNA-Ala-GGC-chr19-3
4 | A04 | Ala-TGC | tRNA of interest | tdbD00003861/tdbD00003862
5 | A05 | Arg-ACG | tRNA of interest | tdbD00002599/tdbD00009083
6 | A06 | Arg-CCG | tRNA of interest | tdbD00009084
7 | A07 | Arg-CCT | tRNA of interest | tdbD00009086/tdbD00009087/tdbD00009088
8 | A08 | Arg-TCG | tRNA of interest | tdbD00002600/tdbD00009091/tdbD00009092/tdbD00009093
9 | A09 | Arg-TCT | tRNA of interest | tdbD00009095
10 | A10 | Asn-ATT | tRNA of interest | tdbD00007875
11 | A11 | Asn-GTT | tRNA of interest | tdbD00007881/tdbD00007894/tdbD00007892
12 | A12 | Asp-ATC | tRNA of interest | tRNA-Asp-ATC-chr6-103 Asp ATC
13 | B01 | Asp-GTC | tRNA of interest | tdbD00004458/tdbD00004457
14 | B02 | Cys-GCA | tRNA of interest | tdbD00004217/tdbD00004226
15 | B03 | Gln-CTG-1 | tRNA of interest | tdbD00008596
16 | B04 | Gln-CTG-2 | tRNA of interest | tdbD00008587
17 | B05 | Gln-TTG-1 | tRNA of interest | tdbD00002407/ tdbD00008603/ tdbD00008605
18 | B06 | Gln-TTG-2 | tRNA of interest | tdbD00008598
19 | B07 | Glu-CTC | tRNA of interest | tdbD00004694
20 | B08 | Glu-TTC | tRNA of interest | tdbD00004701
21 | B09 | Gly-CCC | tRNA of interest | tdbD00005312
22 | B10 | Gly-CCC-1 | tRNA of interest | tdbD00000971/tdbD000005313
23 | B11 | Gly-GCC | tRNA of interest | tdbD00000970/tdbD00005318/tdbD00005317/tdbD00005319
24 | B12 | Gly-TCC | tRNA of interest | tdbD00000972/tdbD00005322
25 | C01 | His-GTG | tRNA of interest | tdbD00005716
26 | C02 | Ile-AAT | tRNA of interest | tdbD00005912/tdbD00005913/tdbD00005914/tdbD00005915/tdbD00005916/tdbD00005917/tdbD00005918
27 | C03 | Ile-TAT | tRNA of interest | tdbD00005920/tdbD00005921/tdbD00005922/tdbD00005923
28 | C04 | Ini-CAT | tRNA of interest | tdbD00003505
29 | C05 | Leu-AAG | tRNA of interest | tdbD00001777/tdbD00006740/tdbD00006741/tdbD00006742
30 | C06 | Leu-CAA | tRNA of interest | tdbD00006745
31 | C07 | Leu-CAG | tRNA of interest | tdbD00006751
32 | C08 | Leu-TAA | tRNA of interest | tdbD00006755
33 | C09 | Leu-TAG | tRNA of interest | tdbD00001776
34 | C10 | Lys-CTT-1 | tRNA of interest | tdbD00001479/tdbD00006182/tdbD00006183/tdbD00006176
35 | C11 | Lys-CTT-2 | tRNA of interest | tdbD00006175
36 | C12 | Lys-TTT | tRNA of interest | tdbD00001478/tdbD00001491/tdbD00001492/tdbD00001493
37 | D01 | Met-CAT | tRNA of interest | tdbD00007454
38 | D02 | Phe-GAA | tRNA of interest | tdbD00004990/tdbD00004992
39 | D03 | Pro-AGG | tRNA of interest | tdbD00002254/tdbD00008211/tdbD00008212
40 | D04 | Pro-CGG | tRNA of interest | tdbD00008214/tdbD00008215
41 | D05 | Pro-GGG | tRNA of interest | tRNA-Pro-GGG-1-1
42 | D06 | Pro-TGG | tRNA of interest | tdbD00002255/tdbD00008216
43 | D07 | Sec-TCA | tRNA of interest | tdbD00011827
44 | D08 | Ser-ACT | tRNA of interest | tRNA-Ser-ACT-1-1
45 | D09 | Ser-AGA | tRNA of interest | tdbD00009824
46 | D10 | Ser-CGA | tRNA of interest | tdbD00002914
47 | D11 | Ser-GCT | tRNA of interest | tdbD00009833/tdbD00009834/tdbD00009835/tdbD00009836/tdbD00009837
48 | D12 | Ser-GGA | tRNA of interest | nmt-tRNA-Ser-GGA-chr2-22
49 | E01 | Ser-TGA | tRNA of interest | tdbD00002910/tdbD00009839/tdbD00009840
50 | E02 | Sup-CTA | tRNA of interest | tRNA-Sup-CTA-2-1
51 | E03 | Sup-TTA | tRNA of interest | tRNA-Sup-TTA-1-1
52 | E04 | Thr-AGT-1 | tRNA of interest | tdbD00010476
53 | E05 | Thr-AGT-2 | tRNA of interest | tdbD00010475
54 | E06 | Thr-CGT | tRNA of interest | tdbD00010483/tdbD00010485
55 | E07 | Thr-TGT-1 | tRNA of interest | tdbD00003090/tdbD00003091/tdbD00003092
56 | E08 | Thr-TGT-2 | tRNA of interest | tdbD0000309
57 | E09 | Trp-CCA | tRNA of interest | tdbD00011355
58 | E10 | Tyr-ATA | tRNA of interest | tdbD00011636
59 | E11 | tyr-GAT | tRNA of interest | tdbD00003670/tdbD00011639
60 | E12 | Tyr-GTA | tRNA of interest | tdbD00003671/tdbD00011637/tdbD00011640/tdbD00011641
61 | F01 | Val-AAC | tRNA of interest | tdbD00010986
62 | F02 | Val-CAC-1 | tRNA of interest | tdbD00010992
63 | F03 | Val-CAC-2 | tRNA of interest | tdbD00010993
64 | F04 | Val-CAC-3 | tRNA of interest | tdbD00010997
65 | F05 | Val-TAC-1 | tRNA of interest | tdbD00011005/tdbD00011006
66 | F06 | Val-TAC-2 | tRNA of interest | tdbD00011003
67 | F07 | mt-Ala-TGC | tRNA of interest | mtdbD00000534
68 | F08 | mt-Arg-TCG | tRNA of interest | mtdbD00000542
69 | F09 | mt-Asn-GTT | tRNA of interest | mtdbD00000535
70 | F10 | mt-Asp-GTC | tRNA of interest | mtdbD00000539
71 | F11 | mt-Cys-GCA | tRNA of interest | mtdbD00000536
72 | F12 | mt-Gln-TTG | tRNA of interest | mtdbD00000531
73 | G01 | mt-Glu-TTC | tRNA of interest | mtdbD00000546
74 | G02 | mt-Gly-TCC | tRNA of interest | mtdbD00000541
75 | G03 | mt-His-GTG | tRNA of interest | mtdbD00000543
76 | G04 | mt-Ile-GAT | tRNA of interest | mtdbD00000530
77 | G05 | mt-Leu-TAA | tRNA of interest | mtdbD00000529
78 | G06 | mt-Leu-TAG | tRNA of interest | mtdbD00000545
79 | G07 | mt-Lys-TTT | tRNA of interest | mtdbD00000540
80 | G08 | mt-Met-CAT | tRNA of interest | mtdbD00000532
81 | G09 | mt-Phe-GAA | tRNA of interest | mtdbD00000527
82 | G10 | mt-Pro-TGG | tRNA of interest | mtdbD00000548
83 | G11 | mt-Ser-GCT | tRNA of interest | mtdbD00000544
84 | G12 | mt-Ser-TGA | tRNA of interest | mtdbD00000538
85 | H01 | mt-Thr-TGT | tRNA of interest | mtdbD00000547
86 | H02 | mt-Trp-TCA | tRNA of interest | mtdbD00000533
87 | H03 | mt-Tyr-GTA | tRNA of interest | mtdbD00000537
88 | H04 | mt-Val-TAC | tRNA of interest | mtdbD00000528
89 | H05 | RNU6-2 | tRNA_Ref
90 | H06 | SNORD43 | tRNA_Ref
91 | H07 | SNORD95 | tRNA_Ref
92 | H08 | RNA Spike-in | RNA Spike-in
93 | H09 | PPC-1 | Positive PCR Control
94 | H10 | PPC-2 | Positive PCR Control
95 | H11 | GDC | GDC
96 | H12 | Blank | Blank

## Test Sample Data
Transcript name | Well | Test
|  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20 | AVG | SD
Ala-AGC | A01 | [20 empty] | 35 | N/A | Ct Range | Distribution of Ct Values | [19 empty] | AVG | STD
Ala-CGC | A02 | [20 empty] | 35 | N/A |  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20
Ala-GGC | A03 | [20 empty] | 35 | N/A | <25 | [20 empty] | #DIV/0! | #DIV/0!
Ala-TGC | A04 | [20 empty] | 35 | N/A | 25-30 | [20 empty] | #DIV/0! | #DIV/0!
Arg-ACG | A05 | [20 empty] | 35 | N/A | 30-35 | [20 empty] | #DIV/0! | #DIV/0!
Arg-CCG | A06 | [20 empty] | 35 | N/A | Absent Calls | [20 empty] | #DIV/0! | #DIV/0!
Arg-CCT | A07 | [20 empty] | 35 | N/A | Percent Distribution of Ct Values
Arg-TCG | A08 | [20 empty] | 35 | N/A | <25 | [20 empty] | #DIV/0! | #DIV/0!
Arg-TCT | A09 | [20 empty] | 35 | N/A | 25-30 | [20 empty] | #DIV/0! | #DIV/0!
Asn-ATT | A10 | [20 empty] | 35 | N/A | 30-35 | [20 empty] | #DIV/0! | #DIV/0!
Asn-GTT | A11 | [20 empty] | 35 | N/A | Absent Calls | [20 empty] | #DIV/0! | #DIV/0!
Asp-ATC | A12 | [20 empty] | 35 | N/A
Asp-GTC | B01 | [20 empty] | 35 | N/A
Cys-GCA | B02 | [20 empty] | 35 | N/A
Gln-CTG-1 | B03 | [20 empty] | 35 | N/A
Gln-CTG-2 | B04 | [20 empty] | 35 | N/A
Gln-TTG-1 | B05 | [20 empty] | 35 | N/A
Gln-TTG-2 | B06 | [20 empty] | 35 | N/A
Glu-CTC | B07 | [20 empty] | 35 | N/A
Glu-TTC | B08 | [20 empty] | 35 | N/A
Gly-CCC | B09 | [20 empty] | 35 | N/A
Gly-CCC-1 | B10 | [20 empty] | 35 | N/A
Gly-GCC | B11 | [20 empty] | 35 | N/A
Gly-TCC | B12 | [20 empty] | 35 | N/A
His-GTG | C01 | [20 empty] | 35 | N/A
Ile-AAT | C02 | [20 empty] | 35 | N/A
Ile-TAT | C03 | [20 empty] | 35 | N/A
Ini-CAT | C04 | [20 empty] | 35 | N/A
Leu-AAG | C05 | [20 empty] | 35 | N/A
Leu-CAA | C06 | [20 empty] | 35 | N/A
Leu-CAG | C07 | [20 empty] | 35 | N/A
Leu-TAA | C08 | [20 empty] | 35 | N/A
Leu-TAG | C09 | [20 empty] | 35 | N/A
Lys-CTT-1 | C10 | [20 empty] | 35 | N/A
Lys-CTT-2 | C11 | [20 empty] | 35 | N/A
Lys-TTT | C12 | [20 empty] | 35 | N/A
Met-CAT | D01 | [20 empty] | 35 | N/A
Phe-GAA | D02 | [20 empty] | 35 | N/A
Pro-AGG | D03 | [20 empty] | 35 | N/A
Pro-CGG | D04 | [20 empty] | 35 | N/A
Pro-GGG | D05 | [20 empty] | 35 | N/A
Pro-TGG | D06 | [20 empty] | 35 | N/A
Sec-TCA | D07 | [20 empty] | 35 | N/A
Ser-ACT | D08 | [20 empty] | 35 | N/A
Ser-AGA | D09 | [20 empty] | 35 | N/A
Ser-CGA | D10 | [20 empty] | 35 | N/A
Ser-GCT | D11 | [20 empty] | 35 | N/A
Ser-GGA | D12 | [20 empty] | 35 | N/A
Ser-TGA | E01 | [20 empty] | 35 | N/A
Sup-CTA | E02 | [20 empty] | 35 | N/A
Sup-TTA | E03 | [20 empty] | 35 | N/A
Thr-AGT-1 | E04 | [20 empty] | 35 | N/A
Thr-AGT-2 | E05 | [20 empty] | 35 | N/A
Thr-CGT | E06 | [20 empty] | 35 | N/A
Thr-TGT-1 | E07 | [20 empty] | 35 | N/A
Thr-TGT-2 | E08 | [20 empty] | 35 | N/A
Trp-CCA | E09 | [20 empty] | 35 | N/A
Tyr-ATA | E10 | [20 empty] | 35 | N/A
tyr-GAT | E11 | [20 empty] | 35 | N/A
Tyr-GTA | E12 | [20 empty] | 35 | N/A
Val-AAC | F01 | [20 empty] | 35 | N/A
Val-CAC-1 | F02 | [20 empty] | 35 | N/A
Val-CAC-2 | F03 | [20 empty] | 35 | N/A
Val-CAC-3 | F04 | [20 empty] | 35 | N/A
Val-TAC-1 | F05 | [20 empty] | 35 | N/A
Val-TAC-2 | F06 | [20 empty] | 35 | N/A
mt-Ala-TGC | F07 | [20 empty] | 35 | N/A
mt-Arg-TCG | F08 | [20 empty] | 35 | N/A
mt-Asn-GTT | F09 | [20 empty] | 35 | N/A
mt-Asp-GTC | F10 | [20 empty] | 35 | N/A
mt-Cys-GCA | F11 | [20 empty] | 35 | N/A
mt-Gln-TTG | F12 | [20 empty] | 35 | N/A
mt-Glu-TTC | G01 | [20 empty] | 35 | N/A
mt-Gly-TCC | G02 | [20 empty] | 35 | N/A
mt-His-GTG | G03 | [20 empty] | 35 | N/A
mt-Ile-GAT | G04 | [20 empty] | 35 | N/A
mt-Leu-TAA | G05 | [20 empty] | 35 | N/A
mt-Leu-TAG | G06 | [20 empty] | 35 | N/A
mt-Lys-TTT | G07 | [20 empty] | 35 | N/A
mt-Met-CAT | G08 | [20 empty] | 35 | N/A
mt-Phe-GAA | G09 | [20 empty] | 35 | N/A
mt-Pro-TGG | G10 | [20 empty] | 35 | N/A
mt-Ser-GCT | G11 | [20 empty] | 35 | N/A
mt-Ser-TGA | G12 | [20 empty] | 35 | N/A
mt-Thr-TGT | H01 | [20 empty] | 35 | N/A
mt-Trp-TCA | H02 | [20 empty] | 35 | N/A
mt-Tyr-GTA | H03 | [20 empty] | 35 | N/A
mt-Val-TAC | H04 | [20 empty] | 35 | N/A
RNU6-2 | H05 | [20 empty] | 35 | N/A
SNORD43 | H06 | [20 empty] | 35 | N/A
SNORD95 | H07 | [20 empty] | 35 | N/A
RNA Spike-in | H08 | [20 empty] | 35 | N/A
PPC-1 | H09 | [20 empty] | 35 | N/A
PPC-2 | H10 | [20 empty] | 35 | N/A
GDC | H11 | [20 empty] | 35 | N/A
Blank | H12 | [20 empty] | 35 | N/A
Note: If there are fewer than 3 data points, the standard deviation (SD) will appear as "N/A".

## Control Sample Data
Transcript name | Well | Control
|  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20 | AVG | SD
Ala-AGC | A01 | [20 empty] | 35 | N/A | Ct Range | Distribution of Ct Values | [19 empty] | AVG | STD
Ala-CGC | A02 | [20 empty] | 35 | N/A |  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20
Ala-GGC | A03 | [20 empty] | 35 | N/A | <25 | [20 empty] | #DIV/0! | #DIV/0!
Ala-TGC | A04 | [20 empty] | 35 | N/A | 25-30 | [20 empty] | #DIV/0! | #DIV/0!
Arg-ACG | A05 | [20 empty] | 35 | N/A | 30-35 | [20 empty] | #DIV/0! | #DIV/0!
Arg-CCG | A06 | [20 empty] | 35 | N/A | Absent Calls | [20 empty] | #DIV/0! | #DIV/0!
Arg-CCT | A07 | [20 empty] | 35 | N/A | Percent Distribution of Ct Values
Arg-TCG | A08 | [20 empty] | 35 | N/A | <25 | [20 empty] | #DIV/0! | #DIV/0!
Arg-TCT | A09 | [20 empty] | 35 | N/A | 25-30 | [20 empty] | #DIV/0! | #DIV/0!
Asn-ATT | A10 | [20 empty] | 35 | N/A | 30-35 | [20 empty] | #DIV/0! | #DIV/0!
Asn-GTT | A11 | [20 empty] | 35 | N/A | Absent Calls | [20 empty] | #DIV/0! | #DIV/0!
Asp-ATC | A12 | [20 empty] | 35 | N/A
Asp-GTC | B01 | [20 empty] | 35 | N/A
Cys-GCA | B02 | [20 empty] | 35 | N/A
Gln-CTG-1 | B03 | [20 empty] | 35 | N/A
Gln-CTG-2 | B04 | [20 empty] | 35 | N/A
Gln-TTG-1 | B05 | [20 empty] | 35 | N/A
Gln-TTG-2 | B06 | [20 empty] | 35 | N/A
Glu-CTC | B07 | [20 empty] | 35 | N/A
Glu-TTC | B08 | [20 empty] | 35 | N/A
Gly-CCC | B09 | [20 empty] | 35 | N/A
Gly-CCC-1 | B10 | [20 empty] | 35 | N/A
Gly-GCC | B11 | [20 empty] | 35 | N/A
Gly-TCC | B12 | [20 empty] | 35 | N/A
His-GTG | C01 | [20 empty] | 35 | N/A
Ile-AAT | C02 | [20 empty] | 35 | N/A
Ile-TAT | C03 | [20 empty] | 35 | N/A
Ini-CAT | C04 | [20 empty] | 35 | N/A
Leu-AAG | C05 | [20 empty] | 35 | N/A
Leu-CAA | C06 | [20 empty] | 35 | N/A
Leu-CAG | C07 | [20 empty] | 35 | N/A
Leu-TAA | C08 | [20 empty] | 35 | N/A
Leu-TAG | C09 | [20 empty] | 35 | N/A
Lys-CTT-1 | C10 | [20 empty] | 35 | N/A
Lys-CTT-2 | C11 | [20 empty] | 35 | N/A
Lys-TTT | C12 | [20 empty] | 35 | N/A
Met-CAT | D01 | [20 empty] | 35 | N/A
Phe-GAA | D02 | [20 empty] | 35 | N/A
Pro-AGG | D03 | [20 empty] | 35 | N/A
Pro-CGG | D04 | [20 empty] | 35 | N/A
Pro-GGG | D05 | [20 empty] | 35 | N/A
Pro-TGG | D06 | [20 empty] | 35 | N/A
Sec-TCA | D07 | [20 empty] | 35 | N/A
Ser-ACT | D08 | [20 empty] | 35 | N/A
Ser-AGA | D09 | [20 empty] | 35 | N/A
Ser-CGA | D10 | [20 empty] | 35 | N/A
Ser-GCT | D11 | [20 empty] | 35 | N/A
Ser-GGA | D12 | [20 empty] | 35 | N/A
Ser-TGA | E01 | [20 empty] | 35 | N/A
Sup-CTA | E02 | [20 empty] | 35 | N/A
Sup-TTA | E03 | [20 empty] | 35 | N/A
Thr-AGT-1 | E04 | [20 empty] | 35 | N/A
Thr-AGT-2 | E05 | [20 empty] | 35 | N/A
Thr-CGT | E06 | [20 empty] | 35 | N/A
Thr-TGT-1 | E07 | [20 empty] | 35 | N/A
Thr-TGT-2 | E08 | [20 empty] | 35 | N/A
Trp-CCA | E09 | [20 empty] | 35 | N/A
Tyr-ATA | E10 | [20 empty] | 35 | N/A
tyr-GAT | E11 | [20 empty] | 35 | N/A
Tyr-GTA | E12 | [20 empty] | 35 | N/A
Val-AAC | F01 | [20 empty] | 35 | N/A
Val-CAC-1 | F02 | [20 empty] | 35 | N/A
Val-CAC-2 | F03 | [20 empty] | 35 | N/A
Val-CAC-3 | F04 | [20 empty] | 35 | N/A
Val-TAC-1 | F05 | [20 empty] | 35 | N/A
Val-TAC-2 | F06 | [20 empty] | 35 | N/A
mt-Ala-TGC | F07 | [20 empty] | 35 | N/A
mt-Arg-TCG | F08 | [20 empty] | 35 | N/A
mt-Asn-GTT | F09 | [20 empty] | 35 | N/A
mt-Asp-GTC | F10 | [20 empty] | 35 | N/A
mt-Cys-GCA | F11 | [20 empty] | 35 | N/A
mt-Gln-TTG | F12 | [20 empty] | 35 | N/A
mt-Glu-TTC | G01 | [20 empty] | 35 | N/A
mt-Gly-TCC | G02 | [20 empty] | 35 | N/A
mt-His-GTG | G03 | [20 empty] | 35 | N/A
mt-Ile-GAT | G04 | [20 empty] | 35 | N/A
mt-Leu-TAA | G05 | [20 empty] | 35 | N/A
mt-Leu-TAG | G06 | [20 empty] | 35 | N/A
mt-Lys-TTT | G07 | [20 empty] | 35 | N/A
mt-Met-CAT | G08 | [20 empty] | 35 | N/A
mt-Phe-GAA | G09 | [20 empty] | 35 | N/A
mt-Pro-TGG | G10 | [20 empty] | 35 | N/A
mt-Ser-GCT | G11 | [20 empty] | 35 | N/A
mt-Ser-TGA | G12 | [20 empty] | 35 | N/A
mt-Thr-TGT | H01 | [20 empty] | 35 | N/A
mt-Trp-TCA | H02 | [20 empty] | 35 | N/A
mt-Tyr-GTA | H03 | [20 empty] | 35 | N/A
mt-Val-TAC | H04 | [20 empty] | 35 | N/A
RNU6-2 | H05 | [20 empty] | 35 | N/A
SNORD43 | H06 | [20 empty] | 35 | N/A
SNORD95 | H07 | [20 empty] | 35 | N/A
RNA Spike-in | H08 | [20 empty] | 35 | N/A
PPC-1 | H09 | [20 empty] | 35 | N/A
PPC-2 | H10 | [20 empty] | 35 | N/A
GDC | H11 | [20 empty] | 35 | N/A
Blank | H12 | [20 empty] | 35 | N/A
Note: If there are fewer than 3 data points, the standard deviation (SD) will appear as "N/A".

## Choose Housekeeping Genes
Housekeeping Gene Symbol | Well | Test | [19 empty] | Housekeeping Gene Symbol | Well | Control | [19 empty] | Housekeeping Gene Symbol | Diff-AVG | Diff-CV | T-Test
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
RNU6-2 | H05 | [20 empty] | RNU6-2 | H05 | [20 empty] | RNU6-2 | #DIV/0! | #DIV/0! | N/A | #NUM! | #NUM!
SNORD43 | H06 | [20 empty] | SNORD43 | H06 | [20 empty] | SNORD43 | #DIV/0! | #DIV/0! | N/A | #NUM! | #NUM!
SNORD95 | H07 | [20 empty] | SNORD95 | H07 | [20 empty] | SNORD95 | #DIV/0! | #DIV/0! | N/A | #NUM! | #NUM!
Best 3 Reference Test |  | Test 1: Normalization factor | Best 3 Reference Control |  | Normalization factor
|  | Test 1: Test |  |  | Control
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
#NUM! |  | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! |  | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM!
#NUM! |  | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! |  | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM!
#NUM! |  | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! |  | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM!
AVG | [21 empty] | AVG
Inter-plate calibration | Well | Test 1: Test | Inter-plate calibration | Well | Control
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
PPC-1 | H09 | [20 empty] | PPC-1 | H09
PPC-2 | H10 | [20 empty] | PPC-2 | H10
IPC plate average | [21 empty] | IPC plate average
IPC overall average | [21 empty] | IPC overall average
Calibration factor | [21 empty] | Calibration factor
|  | Test 1: If no housekeeping gene is chosen, the normalization factor is zero (0). |  |  | If no housekeeping gene is chosen, the normalization factor is zero (0).

## Data pre-processing
Symbol | Well | Test(>35 and (N/A or blank) to 35) & (Inter-plate calibration) | [19 empty] | Symbol | Well | Control(>35 and (N/A or blank) to 35) & (Inter-plate calibration) | [19 empty] | Symbol | Well | Test(normalization) | [19 empty] | Symbol | Well | Control(normalization) | [19 empty] | Test | Control
|  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20 |  |  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20 |  |  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20 |  |  | exp1 | exp2 | exp3 | exp4 | exp5 | exp6 | exp7 | exp8 | exp9 | exp10 | exp11 | exp12 | exp13 | exp14 | exp15 | exp16 | exp17 | exp18 | exp19 | exp20
Ala-AGC | A01 | [20 empty] | Ala-AGC | A01 | [20 empty] | Ala-AGC | A01 | [20 empty] | Ala-AGC | A01 | [20 empty] | #DIV/0! | #DIV/0! | 1 | #DIV/0! | #DIV/0! | 88 | #DIV/0! | #DIV/0! | #DIV/0!
Ala-CGC | A02 | [20 empty] | Ala-CGC | A02 | [20 empty] | Ala-CGC | A02 | [20 empty] | Ala-CGC | A02 | [20 empty] | #DIV/0! | #DIV/0! | 2 | #DIV/0! | #DIV/0! | 87 | #DIV/0! | #DIV/0! | #DIV/0!
Ala-GGC | A03 | [20 empty] | Ala-GGC | A03 | [20 empty] | Ala-GGC | A03 | [20 empty] | Ala-GGC | A03 | [20 empty] | #DIV/0! | #DIV/0! | 3 | #DIV/0! | #DIV/0! | 86 | #DIV/0! | #DIV/0! | #DIV/0!
Ala-TGC | A04 | [20 empty] | Ala-TGC | A04 | [20 empty] | Ala-TGC | A04 | [20 empty] | Ala-TGC | A04 | [20 empty] | #DIV/0! | #DIV/0! | 4 | #DIV/0! | #DIV/0! | 85 | #DIV/0! | #DIV/0! | #DIV/0!
Arg-ACG | A05 | [20 empty] | Arg-ACG | A05 | [20 empty] | Arg-ACG | A05 | [20 empty] | Arg-ACG | A05 | [20 empty] | #DIV/0! | #DIV/0! | 5 | #DIV/0! | #DIV/0! | 84 | #DIV/0! | #DIV/0! | #DIV/0!
Arg-CCG | A06 | [20 empty] | Arg-CCG | A06 | [20 empty] | Arg-CCG | A06 | [20 empty] | Arg-CCG | A06 | [20 empty] | #DIV/0! | #DIV/0! | 6 | #DIV/0! | #DIV/0! | 83 | #DIV/0! | #DIV/0! | #DIV/0!
Arg-CCT | A07 | [20 empty] | Arg-CCT | A07 | [20 empty] | Arg-CCT | A07 | [20 empty] | Arg-CCT | A07 | [20 empty] | #DIV/0! | #DIV/0! | 7 | #DIV/0! | #DIV/0! | 82 | #DIV/0! | #DIV/0! | #DIV/0!
Arg-TCG | A08 | [20 empty] | Arg-TCG | A08 | [20 empty] | Arg-TCG | A08 | [20 empty] | Arg-TCG | A08 | [20 empty] | #DIV/0! | #DIV/0! | 8 | #DIV/0! | #DIV/0! | 81 | #DIV/0! | #DIV/0! | #DIV/0!
Arg-TCT | A09 | [20 empty] | Arg-TCT | A09 | [20 empty] | Arg-TCT | A09 | [20 empty] | Arg-TCT | A09 | [20 empty] | #DIV/0! | #DIV/0! | 9 | #DIV/0! | #DIV/0! | 80 | #DIV/0! | #DIV/0! | #DIV/0!
Asn-ATT | A10 | [20 empty] | Asn-ATT | A10 | [20 empty] | Asn-ATT | A10 | [20 empty] | Asn-ATT | A10 | [20 empty] | #DIV/0! | #DIV/0! | 10 | #DIV/0! | #DIV/0! | 79 | #DIV/0! | #DIV/0! | #DIV/0!
Asn-GTT | A11 | [20 empty] | Asn-GTT | A11 | [20 empty] | Asn-GTT | A11 | [20 empty] | Asn-GTT | A11 | [20 empty] | #DIV/0! | #DIV/0! | 11 | #DIV/0! | #DIV/0! | 78 | #DIV/0! | #DIV/0! | #DIV/0!
Asp-ATC | A12 | [20 empty] | Asp-ATC | A12 | [20 empty] | Asp-ATC | A12 | [20 empty] | Asp-ATC | A12 | [20 empty] | #DIV/0! | #DIV/0! | 12 | #DIV/0! | #DIV/0! | 77 | #DIV/0! | #DIV/0! | #DIV/0!
Asp-GTC | B01 | [20 empty] | Asp-GTC | B01 | [20 empty] | Asp-GTC | B01 | [20 empty] | Asp-GTC | B01 | [20 empty] | #DIV/0! | #DIV/0! | 13 | #DIV/0! | #DIV/0! | 76 | #DIV/0! | #DIV/0! | #DIV/0!
Cys-GCA | B02 | [20 empty] | Cys-GCA | B02 | [20 empty] | Cys-GCA | B02 | [20 empty] | Cys-GCA | B02 | [20 empty] | #DIV/0! | #DIV/0! | 14 | #DIV/0! | #DIV/0! | 75 | #DIV/0! | #DIV/0! | #DIV/0!
Gln-CTG-1 | B03 | [20 empty] | Gln-CTG-1 | B03 | [20 empty] | Gln-CTG-1 | B03 | [20 empty] | Gln-CTG-1 | B03 | [20 empty] | #DIV/0! | #DIV/0! | 15 | #DIV/0! | #DIV/0! | 74 | #DIV/0! | #DIV/0! | #DIV/0!
Gln-CTG-2 | B04 | [20 empty] | Gln-CTG-2 | B04 | [20 empty] | Gln-CTG-2 | B04 | [20 empty] | Gln-CTG-2 | B04 | [20 empty] | #DIV/0! | #DIV/0! | 16 | #DIV/0! | #DIV/0! | 73 | #DIV/0! | #DIV/0! | #DIV/0!
Gln-TTG-1 | B05 | [20 empty] | Gln-TTG-1 | B05 | [20 empty] | Gln-TTG-1 | B05 | [20 empty] | Gln-TTG-1 | B05 | [20 empty] | #DIV/0! | #DIV/0! | 17 | #DIV/0! | #DIV/0! | 72 | #DIV/0! | #DIV/0! | #DIV/0!
Gln-TTG-2 | B06 | [20 empty] | Gln-TTG-2 | B06 | [20 empty] | Gln-TTG-2 | B06 | [20 empty] | Gln-TTG-2 | B06 | [20 empty] | #DIV/0! | #DIV/0! | 18 | #DIV/0! | #DIV/0! | 71 | #DIV/0! | #DIV/0! | #DIV/0!
Glu-CTC | B07 | [20 empty] | Glu-CTC | B07 | [20 empty] | Glu-CTC | B07 | [20 empty] | Glu-CTC | B07 | [20 empty] | #DIV/0! | #DIV/0! | 19 | #DIV/0! | #DIV/0! | 70 | #DIV/0! | #DIV/0! | #DIV/0!
Glu-TTC | B08 | [20 empty] | Glu-TTC | B08 | [20 empty] | Glu-TTC | B08 | [20 empty] | Glu-TTC | B08 | [20 empty] | #DIV/0! | #DIV/0! | 20 | #DIV/0! | #DIV/0! | 69 | #DIV/0! | #DIV/0! | #DIV/0!
Gly-CCC | B09 | [20 empty] | Gly-CCC | B09 | [20 empty] | Gly-CCC | B09 | [20 empty] | Gly-CCC | B09 | [20 empty] | #DIV/0! | #DIV/0!
Gly-CCC-1 | B10 | [20 empty] | Gly-CCC-1 | B10 | [20 empty] | Gly-CCC-1 | B10 | [20 empty] | Gly-CCC-1 | B10 | [20 empty] | #DIV/0! | #DIV/0!
Gly-GCC | B11 | [20 empty] | Gly-GCC | B11 | [20 empty] | Gly-GCC | B11 | [20 empty] | Gly-GCC | B11 | [20 empty] | #DIV/0! | #DIV/0!
Gly-TCC | B12 | [20 empty] | Gly-TCC | B12 | [20 empty] | Gly-TCC | B12 | [20 empty] | Gly-TCC | B12 | [20 empty] | #DIV/0! | #DIV/0!
His-GTG | C01 | [20 empty] | His-GTG | C01 | [20 empty] | His-GTG | C01 | [20 empty] | His-GTG | C01 | [20 empty] | #DIV/0! | #DIV/0!
Ile-AAT | C02 | [20 empty] | Ile-AAT | C02 | [20 empty] | Ile-AAT | C02 | [20 empty] | Ile-AAT | C02 | [20 empty] | #DIV/0! | #DIV/0!
Ile-TAT | C03 | [20 empty] | Ile-TAT | C03 | [20 empty] | Ile-TAT | C03 | [20 empty] | Ile-TAT | C03 | [20 empty] | #DIV/0! | #DIV/0!
Ini-CAT | C04 | [20 empty] | Ini-CAT | C04 | [20 empty] | Ini-CAT | C04 | [20 empty] | Ini-CAT | C04 | [20 empty] | #DIV/0! | #DIV/0!
Leu-AAG | C05 | [20 empty] | Leu-AAG | C05 | [20 empty] | Leu-AAG | C05 | [20 empty] | Leu-AAG | C05 | [20 empty] | #DIV/0! | #DIV/0!
Leu-CAA | C06 | [20 empty] | Leu-CAA | C06 | [20 empty] | Leu-CAA | C06 | [20 empty] | Leu-CAA | C06 | [20 empty] | #DIV/0! | #DIV/0!
Leu-CAG | C07 | [20 empty] | Leu-CAG | C07 | [20 empty] | Leu-CAG | C07 | [20 empty] | Leu-CAG | C07 | [20 empty] | #DIV/0! | #DIV/0!
Leu-TAA | C08 | [20 empty] | Leu-TAA | C08 | [20 empty] | Leu-TAA | C08 | [20 empty] | Leu-TAA | C08 | [20 empty] | #DIV/0! | #DIV/0!
Leu-TAG | C09 | [20 empty] | Leu-TAG | C09 | [20 empty] | Leu-TAG | C09 | [20 empty] | Leu-TAG | C09 | [20 empty] | #DIV/0! | #DIV/0!
Lys-CTT-1 | C10 | [20 empty] | Lys-CTT-1 | C10 | [20 empty] | Lys-CTT-1 | C10 | [20 empty] | Lys-CTT-1 | C10 | [20 empty] | #DIV/0! | #DIV/0!
Lys-CTT-2 | C11 | [20 empty] | Lys-CTT-2 | C11 | [20 empty] | Lys-CTT-2 | C11 | [20 empty] | Lys-CTT-2 | C11 | [20 empty] | #DIV/0! | #DIV/0!
Lys-TTT | C12 | [20 empty] | Lys-TTT | C12 | [20 empty] | Lys-TTT | C12 | [20 empty] | Lys-TTT | C12 | [20 empty] | #DIV/0! | #DIV/0!
Met-CAT | D01 | [20 empty] | Met-CAT | D01 | [20 empty] | Met-CAT | D01 | [20 empty] | Met-CAT | D01 | [20 empty] | #DIV/0! | #DIV/0!
Phe-GAA | D02 | [20 empty] | Phe-GAA | D02 | [20 empty] | Phe-GAA | D02 | [20 empty] | Phe-GAA | D02 | [20 empty] | #DIV/0! | #DIV/0!
Pro-AGG | D03 | [20 empty] | Pro-AGG | D03 | [20 empty] | Pro-AGG | D03 | [20 empty] | Pro-AGG | D03 | [20 empty] | #DIV/0! | #DIV/0!
Pro-CGG | D04 | [20 empty] | Pro-CGG | D04 | [20 empty] | Pro-CGG | D04 | [20 empty] | Pro-CGG | D04 | [20 empty] | #DIV/0! | #DIV/0!
Pro-GGG | D05 | [20 empty] | Pro-GGG | D05 | [20 empty] | Pro-GGG | D05 | [20 empty] | Pro-GGG | D05 | [20 empty] | #DIV/0! | #DIV/0!
Pro-TGG | D06 | [20 empty] | Pro-TGG | D06 | [20 empty] | Pro-TGG | D06 | [20 empty] | Pro-TGG | D06 | [20 empty] | #DIV/0! | #DIV/0!
Sec-TCA | D07 | [20 empty] | Sec-TCA | D07 | [20 empty] | Sec-TCA | D07 | [20 empty] | Sec-TCA | D07 | [20 empty] | #DIV/0! | #DIV/0!
Ser-ACT | D08 | [20 empty] | Ser-ACT | D08 | [20 empty] | Ser-ACT | D08 | [20 empty] | Ser-ACT | D08 | [20 empty] | #DIV/0! | #DIV/0!
Ser-AGA | D09 | [20 empty] | Ser-AGA | D09 | [20 empty] | Ser-AGA | D09 | [20 empty] | Ser-AGA | D09 | [20 empty] | #DIV/0! | #DIV/0!
Ser-CGA | D10 | [20 empty] | Ser-CGA | D10 | [20 empty] | Ser-CGA | D10 | [20 empty] | Ser-CGA | D10 | [20 empty] | #DIV/0! | #DIV/0!
Ser-GCT | D11 | [20 empty] | Ser-GCT | D11 | [20 empty] | Ser-GCT | D11 | [20 empty] | Ser-GCT | D11 | [20 empty] | #DIV/0! | #DIV/0!
Ser-GGA | D12 | [20 empty] | Ser-GGA | D12 | [20 empty] | Ser-GGA | D12 | [20 empty] | Ser-GGA | D12 | [20 empty] | #DIV/0! | #DIV/0!
Ser-TGA | E01 | [20 empty] | Ser-TGA | E01 | [20 empty] | Ser-TGA | E01 | [20 empty] | Ser-TGA | E01 | [20 empty] | #DIV/0! | #DIV/0!
Sup-CTA | E02 | [20 empty] | Sup-CTA | E02 | [20 empty] | Sup-CTA | E02 | [20 empty] | Sup-CTA | E02 | [20 empty] | #DIV/0! | #DIV/0!
Sup-TTA | E03 | [20 empty] | Sup-TTA | E03 | [20 empty] | Sup-TTA | E03 | [20 empty] | Sup-TTA | E03 | [20 empty] | #DIV/0! | #DIV/0!
Thr-AGT-1 | E04 | [20 empty] | Thr-AGT-1 | E04 | [20 empty] | Thr-AGT-1 | E04 | [20 empty] | Thr-AGT-1 | E04 | [20 empty] | #DIV/0! | #DIV/0!
Thr-AGT-2 | E05 | [20 empty] | Thr-AGT-2 | E05 | [20 empty] | Thr-AGT-2 | E05 | [20 empty] | Thr-AGT-2 | E05 | [20 empty] | #DIV/0! | #DIV/0!
Thr-CGT | E06 | [20 empty] | Thr-CGT | E06 | [20 empty] | Thr-CGT | E06 | [20 empty] | Thr-CGT | E06 | [20 empty] | #DIV/0! | #DIV/0!
Thr-TGT-1 | E07 | [20 empty] | Thr-TGT-1 | E07 | [20 empty] | Thr-TGT-1 | E07 | [20 empty] | Thr-TGT-1 | E07 | [20 empty] | #DIV/0! | #DIV/0!
Thr-TGT-2 | E08 | [20 empty] | Thr-TGT-2 | E08 | [20 empty] | Thr-TGT-2 | E08 | [20 empty] | Thr-TGT-2 | E08 | [20 empty] | #DIV/0! | #DIV/0!
Trp-CCA | E09 | [20 empty] | Trp-CCA | E09 | [20 empty] | Trp-CCA | E09 | [20 empty] | Trp-CCA | E09 | [20 empty] | #DIV/0! | #DIV/0!
Tyr-ATA | E10 | [20 empty] | Tyr-ATA | E10 | [20 empty] | Tyr-ATA | E10 | [20 empty] | Tyr-ATA | E10 | [20 empty] | #DIV/0! | #DIV/0!
tyr-GAT | E11 | [20 empty] | tyr-GAT | E11 | [20 empty] | tyr-GAT | E11 | [20 empty] | tyr-GAT | E11 | [20 empty] | #DIV/0! | #DIV/0!
Tyr-GTA | E12 | [20 empty] | Tyr-GTA | E12 | [20 empty] | Tyr-GTA | E12 | [20 empty] | Tyr-GTA | E12 | [20 empty] | #DIV/0! | #DIV/0!
Val-AAC | F01 | [20 empty] | Val-AAC | F01 | [20 empty] | Val-AAC | F01 | [20 empty] | Val-AAC | F01 | [20 empty] | #DIV/0! | #DIV/0!
Val-CAC-1 | F02 | [20 empty] | Val-CAC-1 | F02 | [20 empty] | Val-CAC-1 | F02 | [20 empty] | Val-CAC-1 | F02 | [20 empty] | #DIV/0! | #DIV/0!
Val-CAC-2 | F03 | [20 empty] | Val-CAC-2 | F03 | [20 empty] | Val-CAC-2 | F03 | [20 empty] | Val-CAC-2 | F03 | [20 empty] | #DIV/0! | #DIV/0!
Val-CAC-3 | F04 | [20 empty] | Val-CAC-3 | F04 | [20 empty] | Val-CAC-3 | F04 | [20 empty] | Val-CAC-3 | F04 | [20 empty] | #DIV/0! | #DIV/0!
Val-TAC-1 | F05 | [20 empty] | Val-TAC-1 | F05 | [20 empty] | Val-TAC-1 | F05 | [20 empty] | Val-TAC-1 | F05 | [20 empty] | #DIV/0! | #DIV/0!
Val-TAC-2 | F06 | [20 empty] | Val-TAC-2 | F06 | [20 empty] | Val-TAC-2 | F06 | [20 empty] | Val-TAC-2 | F06 | [20 empty] | #DIV/0! | #DIV/0!
mt-Ala-TGC | F07 | [20 empty] | mt-Ala-TGC | F07 | [20 empty] | mt-Ala-TGC | F07 | [20 empty] | mt-Ala-TGC | F07 | [20 empty] | #DIV/0! | #DIV/0!
mt-Arg-TCG | F08 | [20 empty] | mt-Arg-TCG | F08 | [20 empty] | mt-Arg-TCG | F08 | [20 empty] | mt-Arg-TCG | F08 | [20 empty] | #DIV/0! | #DIV/0!
mt-Asn-GTT | F09 | [20 empty] | mt-Asn-GTT | F09 | [20 empty] | mt-Asn-GTT | F09 | [20 empty] | mt-Asn-GTT | F09 | [20 empty] | #DIV/0! | #DIV/0!
mt-Asp-GTC | F10 | [20 empty] | mt-Asp-GTC | F10 | [20 empty] | mt-Asp-GTC | F10 | [20 empty] | mt-Asp-GTC | F10 | [20 empty] | #DIV/0! | #DIV/0!
mt-Cys-GCA | F11 | [20 empty] | mt-Cys-GCA | F11 | [20 empty] | mt-Cys-GCA | F11 | [20 empty] | mt-Cys-GCA | F11 | [20 empty] | #DIV/0! | #DIV/0!
mt-Gln-TTG | F12 | [20 empty] | mt-Gln-TTG | F12 | [20 empty] | mt-Gln-TTG | F12 | [20 empty] | mt-Gln-TTG | F12 | [20 empty] | #DIV/0! | #DIV/0!
mt-Glu-TTC | G01 | [20 empty] | mt-Glu-TTC | G01 | [20 empty] | mt-Glu-TTC | G01 | [20 empty] | mt-Glu-TTC | G01 | [20 empty] | #DIV/0! | #DIV/0!
mt-Gly-TCC | G02 | [20 empty] | mt-Gly-TCC | G02 | [20 empty] | mt-Gly-TCC | G02 | [20 empty] | mt-Gly-TCC | G02 | [20 empty] | #DIV/0! | #DIV/0!
mt-His-GTG | G03 | [20 empty] | mt-His-GTG | G03 | [20 empty] | mt-His-GTG | G03 | [20 empty] | mt-His-GTG | G03 | [20 empty] | #DIV/0! | #DIV/0!
mt-Ile-GAT | G04 | [20 empty] | mt-Ile-GAT | G04 | [20 empty] | mt-Ile-GAT | G04 | [20 empty] | mt-Ile-GAT | G04 | [20 empty] | #DIV/0! | #DIV/0!
mt-Leu-TAA | G05 | [20 empty] | mt-Leu-TAA | G05 | [20 empty] | mt-Leu-TAA | G05 | [20 empty] | mt-Leu-TAA | G05 | [20 empty] | #DIV/0! | #DIV/0!
mt-Leu-TAG | G06 | [20 empty] | mt-Leu-TAG | G06 | [20 empty] | mt-Leu-TAG | G06 | [20 empty] | mt-Leu-TAG | G06 | [20 empty] | #DIV/0! | #DIV/0!
mt-Lys-TTT | G07 | [20 empty] | mt-Lys-TTT | G07 | [20 empty] | mt-Lys-TTT | G07 | [20 empty] | mt-Lys-TTT | G07 | [20 empty] | #DIV/0! | #DIV/0!
mt-Met-CAT | G08 | [20 empty] | mt-Met-CAT | G08 | [20 empty] | mt-Met-CAT | G08 | [20 empty] | mt-Met-CAT | G08 | [20 empty] | #DIV/0! | #DIV/0!
mt-Phe-GAA | G09 | [20 empty] | mt-Phe-GAA | G09 | [20 empty] | mt-Phe-GAA | G09 | [20 empty] | mt-Phe-GAA | G09 | [20 empty] | #DIV/0! | #DIV/0!
mt-Pro-TGG | G10 | [20 empty] | mt-Pro-TGG | G10 | [20 empty] | mt-Pro-TGG | G10 | [20 empty] | mt-Pro-TGG | G10 | [20 empty] | #DIV/0! | #DIV/0!
mt-Ser-GCT | G11 | [20 empty] | mt-Ser-GCT | G11 | [20 empty] | mt-Ser-GCT | G11 | [20 empty] | mt-Ser-GCT | G11 | [20 empty] | #DIV/0! | #DIV/0!
mt-Ser-TGA | G12 | [20 empty] | mt-Ser-TGA | G12 | [20 empty] | mt-Ser-TGA | G12 | [20 empty] | mt-Ser-TGA | G12 | [20 empty] | #DIV/0! | #DIV/0!
mt-Thr-TGT | H01 | [20 empty] | mt-Thr-TGT | H01 | [20 empty] | mt-Thr-TGT | H01 | [20 empty] | mt-Thr-TGT | H01 | [20 empty] | #DIV/0! | #DIV/0!
mt-Trp-TCA | H02 | [20 empty] | mt-Trp-TCA | H02 | [20 empty] | mt-Trp-TCA | H02 | [20 empty] | mt-Trp-TCA | H02 | [20 empty] | #DIV/0! | #DIV/0!
mt-Tyr-GTA | H03 | [20 empty] | mt-Tyr-GTA | H03 | [20 empty] | mt-Tyr-GTA | H03 | [20 empty] | mt-Tyr-GTA | H03 | [20 empty] | #DIV/0! | #DIV/0!
mt-Val-TAC | H04 | [20 empty] | mt-Val-TAC | H04 | [20 empty] | mt-Val-TAC | H04 | [20 empty] | mt-Val-TAC | H04 | [20 empty] | #DIV/0! | #DIV/0!
RNU6-2 | H05 | [20 empty] | RNU6-2 | H05 | [20 empty] | RNU6-2 | H05 | [20 empty] | RNU6-2 | H05 | [20 empty] | #DIV/0! | #DIV/0!
SNORD43 | H06 | [20 empty] | SNORD43 | H06 | [20 empty] | SNORD43 | H06 | [20 empty] | SNORD43 | H06 | [20 empty] | #DIV/0! | #DIV/0!
SNORD95 | H07 | [20 empty] | SNORD95 | H07 | [20 empty] | SNORD95 | H07 | [20 empty] | SNORD95 | H07 | [20 empty] | #DIV/0! | #DIV/0!
RNA Spike-in | H08 | [20 empty] | RNA Spike-in | H08 | [20 empty] | RNA Spike-in | H08 | [20 empty] | RNA Spike-in | H08 | [20 empty] | #DIV/0! | #DIV/0!
PPC-1 | H09 | [20 empty] | PPC-1 | H09 | [20 empty] | PPC-1 | H09 | [20 empty] | PPC-1 | H09 | [20 empty] | #DIV/0! | #DIV/0!
PPC-2 | H10 | [20 empty] | PPC-2 | H10 | [20 empty] | PPC-2 | H10 | [20 empty] | PPC-2 | H10 | [20 empty] | #DIV/0! | #DIV/0!
GDC | H11 | [20 empty] | GDC | H11 | [20 empty] | GDC | H11 | [20 empty] | GDC | H11 | [20 empty] | #DIV/0! | #DIV/0!
Blank | H12 | [20 empty] | Blank | H12 | [20 empty] | Blank | H12 | [20 empty] | Blank | H12 | [20 empty] | #DIV/0! | #DIV/0!

## All expressed genes
|  | AVG ΔCt (Ct(GOI) - Ave Ct (HKG)) |  | 2^-ΔCt |  | Fold Difference | T-TEST | Fold Up- or Down-Regulation
Transcript name | Well | Test | Control | Test | Control | Test /Control | p value | Test /Control | Comments
Ala-AGC | A01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Ala-CGC | A02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Ala-GGC | A03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Ala-TGC | A04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Arg-ACG | A05 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Arg-CCG | A06 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Arg-CCT | A07 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Arg-TCG | A08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Arg-TCT | A09 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Asn-ATT | A10 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Asn-GTT | A11 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Asp-ATC | A12 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Asp-GTC | B01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Cys-GCA | B02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Gln-CTG-1 | B03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Gln-CTG-2 | B04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Gln-TTG-1 | B05 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Gln-TTG-2 | B06 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Glu-CTC | B07 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Glu-TTC | B08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Gly-CCC | B09 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Gly-CCC-1 | B10 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Gly-GCC | B11 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Gly-TCC | B12 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
His-GTG | C01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Ile-AAT | C02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Ile-TAT | C03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Ini-CAT | C04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Leu-AAG | C05 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Leu-CAA | C06 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Leu-CAG | C07 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Leu-TAA | C08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Leu-TAG | C09 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Lys-CTT-1 | C10 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Lys-CTT-2 | C11 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Lys-TTT | C12 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Met-CAT | D01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Phe-GAA | D02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Pro-AGG | D03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Pro-CGG | D04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Pro-GGG | D05 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Pro-TGG | D06 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Sec-TCA | D07 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Ser-ACT | D08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Ser-AGA | D09 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Ser-CGA | D10 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Ser-GCT | D11 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Ser-GGA | D12 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Ser-TGA | E01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Sup-CTA | E02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Sup-TTA | E03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Thr-AGT-1 | E04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Thr-AGT-2 | E05 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Thr-CGT | E06 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Thr-TGT-1 | E07 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Thr-TGT-2 | E08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Trp-CCA | E09 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Tyr-ATA | E10 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
tyr-GAT | E11 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Tyr-GTA | E12 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Val-AAC | F01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Val-CAC-1 | F02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Val-CAC-2 | F03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Val-CAC-3 | F04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Val-TAC-1 | F05 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Val-TAC-2 | F06 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
mt-Ala-TGC | F07 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
mt-Arg-TCG | F08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
mt-Asn-GTT | F09 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
mt-Asp-GTC | F10 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
mt-Cys-GCA | F11 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
mt-Gln-TTG | F12 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
mt-Glu-TTC | G01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
mt-Gly-TCC | G02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
mt-His-GTG | G03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
mt-Ile-GAT | G04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
mt-Leu-TAA | G05 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
mt-Leu-TAG | G06 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
mt-Lys-TTT | G07 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
mt-Met-CAT | G08 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
mt-Phe-GAA | G09 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
mt-Pro-TGG | G10 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
mt-Ser-GCT | G11 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
mt-Ser-TGA | G12 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
mt-Thr-TGT | H01 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
mt-Trp-TCA | H02 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
mt-Tyr-GTA | H03 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
mt-Val-TAC | H04 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | N/A | #DIV/0! | C
Notes: Fold Difference is the ratio of the normalized gene expression (2^(-Ct)) of the Test Sample divided by that of the Control Sample. It can be also obtained by (2^(-Ct)). Fold Regulation is expressed as the magnitude of fold change, with up- or down-regulation indicated by a positive (ommitted) or negative sign respectively. It is the same as fold difference, if >1, or -1/(fold difference) if < 1.
Fold-change values greater than 2 are indicated in red; the ones less than -2 are indicated in blue. p-value: The p values are calculated based on Student’s t-test of the replicate 2^(-Ct) values for each gene in the control group and treatment groups. p-values less than 0.05 are indicated in red. Comments: "A": The average Ct is relatively high (> 30) in one of the samples, but is still relatively low in the other sample (< 30), suggesting the fold change value may not be as accurately calculated. However, the actual fold change can be at least as large as what is calculated. If the p-value > 0.05, more biological replicates are needed to validate the fold change. "B": The average Ct values are relatively high (> 30) in both control and test samples, and the p-value is either unavailable or above cutoff (p > 0.05). More biological replicates are needed to detect differential expression at low expression levels. "C": The average Ct values are not determined or greater than the cut-off (default 35) in both samples, indicating the gene expression is undetected and fold-change values may be erroneous and reliable.

## Scatter Plot
2
The black line indicates fold changes (2 ^ (-DCt) of 1 (no difference). The pink lines indicate the fold-change threshold, defined by the user with the entry in cell A1. The axis scale or other plot formats can be adjusted by the Excel chart functions.
Scatter Plot
[6 empty] | Well | Symbol | 2-ΔCt
[8 empty] | Test | Control
[6 empty] | 1 | Ala-AGC | #DIV/0! | #DIV/0!
[6 empty] | 2 | Ala-CGC | #DIV/0! | #DIV/0!
[6 empty] | 3 | Ala-GGC | #DIV/0! | #DIV/0!
[6 empty] | 4 | Ala-TGC | #DIV/0! | #DIV/0!
[6 empty] | 5 | Arg-ACG | #DIV/0! | #DIV/0!
| #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 6 | Arg-CCG | #DIV/0! | #DIV/0!
| #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 7 | Arg-CCT | #DIV/0! | #DIV/0!
[6 empty] | 8 | Arg-TCG | #DIV/0! | #DIV/0!
[6 empty] | 9 | Arg-TCT | #DIV/0! | #DIV/0!
[6 empty] | 10 | Asn-ATT | #DIV/0! | #DIV/0!
[6 empty] | 11 | Asn-GTT | #DIV/0! | #DIV/0!
[6 empty] | 12 | Asp-ATC | #DIV/0! | #DIV/0!
[6 empty] | 13 | Asp-GTC | #DIV/0! | #DIV/0!
[6 empty] | 14 | Cys-GCA | #DIV/0! | #DIV/0!
[6 empty] | 15 | Gln-CTG-1 | #DIV/0! | #DIV/0!
[6 empty] | 16 | Gln-CTG-2 | #DIV/0! | #DIV/0!
[6 empty] | 17 | Gln-TTG-1 | #DIV/0! | #DIV/0!
[6 empty] | 18 | Gln-TTG-2 | #DIV/0! | #DIV/0!
[6 empty] | 19 | Glu-CTC | #DIV/0! | #DIV/0!
[6 empty] | 20 | Glu-TTC | #DIV/0! | #DIV/0!
[6 empty] | 21 | Gly-CCC | #DIV/0! | #DIV/0!
[6 empty] | 22 | Gly-CCC-1 | #DIV/0! | #DIV/0!
[6 empty] | 23 | Gly-GCC | #DIV/0! | #DIV/0!
[6 empty] | 24 | Gly-TCC | #DIV/0! | #DIV/0!
[6 empty] | 25 | His-GTG | #DIV/0! | #DIV/0!
[6 empty] | 26 | Ile-AAT | #DIV/0! | #DIV/0!
[6 empty] | 27 | Ile-TAT | #DIV/0! | #DIV/0!
[6 empty] | 28 | Ini-CAT | #DIV/0! | #DIV/0!
[6 empty] | 29 | Leu-AAG | #DIV/0! | #DIV/0!
[6 empty] | 30 | Leu-CAA | #DIV/0! | #DIV/0!
[6 empty] | 31 | Leu-CAG | #DIV/0! | #DIV/0!
[6 empty] | 32 | Leu-TAA | #DIV/0! | #DIV/0!
[6 empty] | 33 | Leu-TAG | #DIV/0! | #DIV/0!
[6 empty] | 34 | Lys-CTT-1 | #DIV/0! | #DIV/0!
[6 empty] | 35 | Lys-CTT-2 | #DIV/0! | #DIV/0!
[6 empty] | 36 | Lys-TTT | #DIV/0! | #DIV/0!
[6 empty] | 37 | Met-CAT | #DIV/0! | #DIV/0!
[6 empty] | 38 | Phe-GAA | #DIV/0! | #DIV/0!
[6 empty] | 39 | Pro-AGG | #DIV/0! | #DIV/0!
[6 empty] | 40 | Pro-CGG | #DIV/0! | #DIV/0!
[6 empty] | 41 | Pro-GGG | #DIV/0! | #DIV/0!
[6 empty] | 42 | Pro-TGG | #DIV/0! | #DIV/0!
[6 empty] | 43 | Sec-TCA | #DIV/0! | #DIV/0!
[6 empty] | 44 | Ser-ACT | #DIV/0! | #DIV/0!
[6 empty] | 45 | Ser-AGA | #DIV/0! | #DIV/0!
[6 empty] | 46 | Ser-CGA | #DIV/0! | #DIV/0!
[6 empty] | 47 | Ser-GCT | #DIV/0! | #DIV/0!
[6 empty] | 48 | Ser-GGA | #DIV/0! | #DIV/0!
[6 empty] | 49 | Ser-TGA | #DIV/0! | #DIV/0!
[6 empty] | 50 | Sup-CTA | #DIV/0! | #DIV/0!
[6 empty] | 51 | Sup-TTA | #DIV/0! | #DIV/0!
[6 empty] | 52 | Thr-AGT-1 | #DIV/0! | #DIV/0!
[6 empty] | 53 | Thr-AGT-2 | #DIV/0! | #DIV/0!
[6 empty] | 54 | Thr-CGT | #DIV/0! | #DIV/0!
[6 empty] | 55 | Thr-TGT-1 | #DIV/0! | #DIV/0!
[6 empty] | 56 | Thr-TGT-2 | #DIV/0! | #DIV/0!
[6 empty] | 57 | Trp-CCA | #DIV/0! | #DIV/0!
[6 empty] | 58 | Tyr-ATA | #DIV/0! | #DIV/0!
[6 empty] | 59 | tyr-GAT | #DIV/0! | #DIV/0!
[6 empty] | 60 | Tyr-GTA | #DIV/0! | #DIV/0!
[6 empty] | 61 | Val-AAC | #DIV/0! | #DIV/0!
[6 empty] | 62 | Val-CAC-1 | #DIV/0! | #DIV/0!
[6 empty] | 63 | Val-CAC-2 | #DIV/0! | #DIV/0!
[6 empty] | 64 | Val-CAC-3 | #DIV/0! | #DIV/0!
[6 empty] | 65 | Val-TAC-1 | #DIV/0! | #DIV/0!
[6 empty] | 66 | Val-TAC-2 | #DIV/0! | #DIV/0!
[6 empty] | 67 | mt-Ala-TGC | #DIV/0! | #DIV/0!
[6 empty] | 68 | mt-Arg-TCG | #DIV/0! | #DIV/0!
[6 empty] | 69 | mt-Asn-GTT | #DIV/0! | #DIV/0!
[6 empty] | 70 | mt-Asp-GTC | #DIV/0! | #DIV/0!
[6 empty] | 71 | mt-Cys-GCA | #DIV/0! | #DIV/0!
[6 empty] | 72 | mt-Gln-TTG | #DIV/0! | #DIV/0!
[6 empty] | 73 | mt-Glu-TTC | #DIV/0! | #DIV/0!
[6 empty] | 74 | mt-Gly-TCC | #DIV/0! | #DIV/0!
[6 empty] | 75 | mt-His-GTG | #DIV/0! | #DIV/0!
[6 empty] | 76 | mt-Ile-GAT | #DIV/0! | #DIV/0!
[6 empty] | 77 | mt-Leu-TAA | #DIV/0! | #DIV/0!
[6 empty] | 78 | mt-Leu-TAG | #DIV/0! | #DIV/0!
[6 empty] | 79 | mt-Lys-TTT | #DIV/0! | #DIV/0!
[6 empty] | 80 | mt-Met-CAT | #DIV/0! | #DIV/0!
[6 empty] | 81 | mt-Phe-GAA | #DIV/0! | #DIV/0!
[6 empty] | 82 | mt-Pro-TGG | #DIV/0! | #DIV/0!
[6 empty] | 83 | mt-Ser-GCT | #DIV/0! | #DIV/0!
[6 empty] | 84 | mt-Ser-TGA | #DIV/0! | #DIV/0!
[6 empty] | 85 | mt-Thr-TGT | #DIV/0! | #DIV/0!
[6 empty] | 86 | mt-Trp-TCA | #DIV/0! | #DIV/0!
[6 empty] | 87 | mt-Tyr-GTA | #DIV/0! | #DIV/0!
[6 empty] | 88 | mt-Val-TAC | #DIV/0! | #DIV/0!

## Volcano Plot
Threshold for Fold Difference |  |  | 2 |  | Threshold for p Value of t-test | 0.05
The black line indicates a fold-change value of 1.
The pink lines indicate the threshold of fold-change, as defined in the yellow D1 cell.
The blue line indicates the p value cutoff, as defined in the yellow I1 cell.
The axis scales and other plot options can be adjusted by using the standard Excel functions. | [8 empty] | Volcano Plot |  |  |  |  | Volcano Plot
[7 empty] | Well | Symbol | Log2(FC) | p Value | Comments | Well | Symbol | Log2(FC) | p Value
[7 empty] | 1 | Ala-AGC | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 2 | Ala-CGC | #DIV/0! | #N/A | C | #REF! | #REF!
| #DIV/0! | 0.05 |  |  |  |  | 3 | Ala-GGC | #DIV/0! | #N/A | C | #REF! | #REF!
| #DIV/0! | 0.05 |  |  |  |  | 4 | Ala-TGC | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 5 | Arg-ACG | #DIV/0! | #N/A | C | #REF! | #REF!
1 | 1 | 1 | -1 | 0 |  |  | 6 | Arg-CCG | #DIV/0! | #N/A | C | #REF! | #REF!
#N/A | #N/A | 1 | -1 | 0 |  |  | 7 | Arg-CCT | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 8 | Arg-TCG | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 9 | Arg-TCT | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 10 | Asn-ATT | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 11 | Asn-GTT | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 12 | Asp-ATC | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 13 | Asp-GTC | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 14 | Cys-GCA | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 15 | Gln-CTG-1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 16 | Gln-CTG-2 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 17 | Gln-TTG-1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 18 | Gln-TTG-2 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 19 | Glu-CTC | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 20 | Glu-TTC | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 21 | Gly-CCC | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 22 | Gly-CCC-1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 23 | Gly-GCC | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 24 | Gly-TCC | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 25 | His-GTG | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 26 | Ile-AAT | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 27 | Ile-TAT | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 28 | Ini-CAT | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 29 | Leu-AAG | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 30 | Leu-CAA | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 31 | Leu-CAG | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 32 | Leu-TAA | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 33 | Leu-TAG | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 34 | Lys-CTT-1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 35 | Lys-CTT-2 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 36 | Lys-TTT | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 37 | Met-CAT | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 38 | Phe-GAA | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 39 | Pro-AGG | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 40 | Pro-CGG | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 41 | Pro-GGG | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 42 | Pro-TGG | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 43 | Sec-TCA | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 44 | Ser-ACT | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 45 | Ser-AGA | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 46 | Ser-CGA | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 47 | Ser-GCT | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 48 | Ser-GGA | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 49 | Ser-TGA | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 50 | Sup-CTA | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 51 | Sup-TTA | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 52 | Thr-AGT-1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 53 | Thr-AGT-2 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 54 | Thr-CGT | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 55 | Thr-TGT-1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 56 | Thr-TGT-2 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 57 | Trp-CCA | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 58 | Tyr-ATA | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 59 | tyr-GAT | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 60 | Tyr-GTA | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 61 | Val-AAC | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 62 | Val-CAC-1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 63 | Val-CAC-2 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 64 | Val-CAC-3 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 65 | Val-TAC-1 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 66 | Val-TAC-2 | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 67 | mt-Ala-TGC | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 68 | mt-Arg-TCG | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 69 | mt-Asn-GTT | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 70 | mt-Asp-GTC | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 71 | mt-Cys-GCA | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 72 | mt-Gln-TTG | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 73 | mt-Glu-TTC | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 74 | mt-Gly-TCC | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 75 | mt-His-GTG | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 76 | mt-Ile-GAT | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 77 | mt-Leu-TAA | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 78 | mt-Leu-TAG | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 79 | mt-Lys-TTT | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 80 | mt-Met-CAT | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 81 | mt-Phe-GAA | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 82 | mt-Pro-TGG | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 83 | mt-Ser-GCT | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 84 | mt-Ser-TGA | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 85 | mt-Thr-TGT | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 86 | mt-Trp-TCA | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 87 | mt-Tyr-GTA | #DIV/0! | #N/A | C | #REF! | #REF!
[7 empty] | 88 | mt-Val-TAC | #DIV/0! | #N/A | C | #REF! | #REF!